1) Medical Image De-identification, Cleaning, and Compression Using PyLogik (Kline et al., 2023, arXiv:2304.12322)

Datasets used

- 50 cardiac ultrasound (echocardiogram) studies sampled randomly for evaluation (manual segmentations by an expert used as reference).

Methodology / Pipeline

- Proposes PyLogik, a Python library to de-identify ultrasound images (not only metadata also handles PHI “on the pixels”).

- Processing includes a series of classical image-processing steps: text detection/extraction, filtering, thresholding, morphological operations, and contour comparisons, plus ROI determination and compression-oriented processing.

Models used

- No deep model is the core; it’s primarily a rule-based / image-processing pipeline (though it cites OCR/deep approaches as related work).

Preprocessing

- Explicitly mentions: thresholding, morphology, contour comparisons, and other filtering steps; applied to ultrasound volumes.

Evaluation

- Compared PyLogik output masks vs expert manual segmentations using Dice coefficient.

- Also evaluated compression benefit (file size reduction).

Novelty

- A practical, end-to-end “clean + de-ID + compress” toolkit targeted at ultrasound, where burned-in PHI is common and file volumes are large.

Results

- Mean Dice ≈ 0.976 vs expert masks.

- 72% smaller output data after processing on average.

2) Image deidentification in the XNAT ecosystem: use cases and solutions (Michie & Doran, 2025, arXiv:2504.20657)

Datasets used

- Focuses on workflows in XNAT; performance reported on the MIDI-B challenge test corpus.

Methodology / Pipeline

- Describes a server/workflow-oriented de-identification pipeline in the XNAT ecosystem (XNAT + ecosystem tools) and how they adapted local methods for MIDI-B.

Models used

- Primarily an entirely rule-based approach demonstrated strong removal of name-related information; ML experiments were explored for certain harder fields.

Preprocessing

- Not specified as “data preprocessing” in the ML sense; emphasis is on DICOM handling + workflow integration (import/deID/export validation pipeline).

Evaluation

- Evaluated via MIDI-B scoring (percentage correct actions). Their reported scores: initial 97.91%, improved post-submission to 99.61% after discrepancy feedback.

Novelty

- Contribution is largely operational/engineering: a detailed, reproducible de-ID workflow in XNAT, with discussion of real deployment friction (including a platform incompatibility issue during challenge validation).

Results

- Rule-based: capable of removing all name-related information, but struggled more with address data.

- ML-based address removal was “over-aggressive” on other free text and slightly degraded overall performance (reported 99.54% with ML address step).

3) Medical Image De-Identification Benchmark Challenge (Pei et al., 2025, arXiv:2507.23608)

Datasets used

- MIDI Dataset: clinical de-identified images (from TCIA/IDC) infused with synthetic PHI/PII across modalities.

- Challenge split: Validation (216 subjects; 23,921 DICOM instances) and Test (322 subjects).

Methodology / Setup

- MIDI-B is a benchmarking challenge (not one algorithm): training/validation/test phases on Synapse, with standardized rules aligned to HIPAA Safe Harbor, DICOM Confidentiality Profiles, and TCIA metadata-utility best practices.

Models used (by participants)

- Teams used combinations of open-source/proprietary de-ID tools, OCR, LLMs, and custom configurations.

Preprocessing

- Not a single preprocessing recipe; the paper emphasizes dataset construction and challenge protocol. It notes multi-modality coverage (CR/MR/CT/PET/DX/SR/MG/US).

Evaluation

- Primary score: % correct actions among required de-ID actions (rule-based scoring framework).

Novelty

- Provides a standardized, large multi-center multi-modality benchmark with synthetic identifiers and clear evaluation rules for comparing de-ID tools under consistent criteria.

Results

- Test-phase scores ranged 97.91% to 99.93% across top teams.

4) DICOM De-Identification via Hybrid AI and Rule-Based Framework for Scalable, Uncertainty-Aware Redaction (Naddeo et al., 2025, arXiv:2507.23736)

Datasets used

- Claims robust performance across “benchmark datasets” and compliance criteria; specific dataset names/IDs not fully visible in the snippet I have.

Methodology / Pipeline

- Hybrid de-ID covering metadata + pixel data:

  - Two-tier rule-based metadata cleansing (explicit + inferred fields)

  - LLM fine-tuned for NER trained on synthetic PHI/PII datasets

  - Pixel pipeline: uncertainty-aware Faster R-CNN localizes embedded text → OCR extracts text → NER decides PHI/PII → redact;

  - Uncertainty quantification supports reliability and potential human review.

Models used

- Uncertainty-aware Faster R-CNN (pixel text localization) + OCR + LLM/NER for PHI detection, plus rule-based metadata system.

Preprocessing

- Pixel side: detection → OCR extraction; metadata side: rule-based transformations. (Exact image preprocessing steps beyond this are not specified in the visible text.)

Evaluation

- Evaluated against compliance metrics: DICOM validity, HIPAA, and TCIA-style criteria (details/tables not visible here).

Novelty

- Key novelty is uncertainty-aware automation across both metadata and pixel PHI, enabling confidence scoring + scalable human-in-the-loop verification.

Results

- Described as “robust performance”; exact numbers not visible in the excerpt.

5) Medical Image De-Identification Resources: Synthetic DICOM Data and Tools for Validation (Rutherford et al., 2025, arXiv:2508.01889)

Datasets used

- MIDI synthetic dataset built from TCIA de-identified imaging, infused with synthetic PHI/PII.

- Scale: 538 subjects (Validation 216, Test 322), 605 studies, 708 series, 53,581 DICOM instances.

Methodology / Resource contribution

- Provides: (i) synthetic PHI/PII insertion into structured tags, free text, and pixel/burned-in text; and (ii) evaluation framework with scripts, answer keys, and mappings for objective scoring.

Models used

- Not proposing a single ML model; it’s a benchmark + tooling paper.

Preprocessing / Data construction

- Structured and pixel PHI/PII insertion is rule-driven for transparency/auditability; acknowledges tradeoff: auditability vs realism.

Evaluation

- Automated comparison against answer key expected transformations; checks UID consistency, date shifting/removal, token-level checks for text and burned-in pixel actions.

Novelty

- A standards-aligned, ground-truth benchmark enabling reproducible regression testing of de-ID tools addressing the common problem that evaluation is often subjective/manual.

Results

- Main “result” is the released dataset + evaluation tooling rather than a single model score. Dataset and tooling explicitly target HIPAA Safe Harbor and DICOM PS3.15 confidentiality profiles.

6) A Hybrid AI-based and Rule-based Approach to DICOM De-identification: A Solution for the MIDI-B Challenge (Haghiri et al., 2025, arXiv:2509.00437)

Datasets used

- Evaluated on MIDI-B test dataset.

Methodology / Pipeline

- Hybrid framework:

  - Rule-based component (updated with TCIA best practices / DICOM PS3.15)

  - PaddleOCR to extract text from images

  - RoBERTa fine-tuned transformer to identify/remove PHI/PII in text (applied to free text after iteration).

Models used

- PaddleOCR + RoBERTa (fine-tuned) + rule-based DICOM de-ID.

Preprocessing

- Iterative refinement: initially applied transformer broadly (structured + free text) but improved results by restricting transformer to free-text, leaving structured data to rules.

Evaluation

- Uses MIDI-B scoring; also uses dciodvfy DICOM validator to ensure DICOM integrity after de-ID.

Novelty

- Practical lesson/novelty: where to apply AI (free text only) vs rules (structured tags), plus engineering focus on DICOM validity + handling private tags.

Results

- Achieved 99.91% de-identification accuracy on MIDI-B test.

7) Towards Selection of Large Multimodal Models as Engines for Burned-in PHI Detection in Medical Images (Truong et al., 2025, arXiv:2511.02014)

Datasets used

- Evaluated on “test cases” of burned-in imprints; specific dataset names not shown in the visible snippet.

Methodology / Pipeline

- Benchmarks LMM-based pipelines for burned-in PHI detection:

  - Step 1: text localization via YOLOv11 imprint localization → crops

  - Step 2: text extraction comparison: EasyOCR vs LMM OCR

  - Step 3: LMM prompt-based PHI vs non-PHI classification of extracted strings.

Models used

- LMMs: GPT-4o, Gemini 2.5 Flash, Qwen2.5-VL 7B; plus YOLOv11 for localization; EasyOCR baseline.

Preprocessing

- Generate bounding box crops from localized imprint regions; feed crops to OCR or LMM extraction; then feed extracted strings to LMM classification prompt.

Evaluation

- OCR quality metrics: WER and CER comparisons between LMM OCR and EasyOCR.

- Also evaluates downstream PHI detection behavior, noting OCR improvements don’t always translate into end-to-end PHI detection gains.

Novelty

- Provides an empirical selection guide: when LMM OCR helps, when it doesn’t, and how to structure modular deployments (localize → extract → analyze).

Results

- LMM OCR achieved WER 0.03 - 0.05 and CER 0.02 - 0.03, outperforming EasyOCR, but PHI detection improvements were scenario-dependent (largest gains on complex imprint patterns).

8) Medical Image De-Identification (MIDI) Project Final Report (CRDC/NIH/NCI, 2025)  (blog/report-style source)

Datasets used

- Uses an extensive dataset of representative medical images modified with synthetic PHI/PII for training/validation/testing; also reports a final test using a dataset with actual PHI/PII.

Methodology / Pipeline

- Reports on an NCI-coordinated effort developing a fully automated DICOM de-ID pipeline, iteratively improved via workshops and MIDI challenges, plus an open challenge using the synthetic dataset.

Models used

- Not a single model paper; describes a pipeline + program outcomes (automation plus review).

Preprocessing

- Not specified; high-level summary emphasizes synthetic insertion, pipeline iteration, and validation assets (answer keys/mappings/scripts).

Evaluation

- Reports a key operational finding: no automated method achieved 100% success across iterations and challenge submissions; thus human-in-the-loop is recommended for production-level assurance.

Novelty

- Program-level novelty: building and validating a scalable de-ID pipeline and releasing benchmark assets for broader community testing and future cloud service development.

Results

- “Promising” success overall, but explicitly emphasizes remaining failures and the need for human review to reach near-100% confidence in privacy protection.

9) Software for De-identification : Protecting Human Subject Identifiers (Johns Hopkins University Library Guide) (resource/guide)

Datasets used

- None (it’s a curated guide, not an empirical study).

Methodology

- Provides a categorized list of de-identification software/tools across data types (tabular/structured, digital images, text, etc.), with governance caveats.

Models used

- Not applicable (tool listing).

Preprocessing

- Not applicable; instead stresses that no software provides fully automatic de-identification without careful setup and assessment of utility and remaining disclosure risk.

Evaluation

- Not a benchmark; emphasizes user responsibility: assess results, remaining utility, and follow IRB/privacy policies.

Novelty

- Practical value: a policy-aware, research-facing inventory that frames de-identification as a socio-technical process (tool + expertise + governance).

Results

- No quantitative results (informational guide).

10) Report of the Medical Image De-Identification (MIDI) Task Group  Best Practices and Recommendations (Clunie et al., 2023, arXiv:2303.10473v2)

Datasets used

- Not positioned as a single-dataset ML paper; it’s a best-practices and recommendations report spanning modalities and contexts. Its scope includes definitions, risk models (e.g., re-identification risk), rule-based profiles, and operational considerations.

Methodology

- Provides structured guidance on:

  - What must be de-identified (metadata + pixel + free text),

  - Rule-based de-ID (including profiles & configurability),

  - Statistical disclosure control concepts (risk, k-anonymity/uniqueness framing),

  - Deployment/operational considerations and documentation needs.

Models used

- Not a model proposal; it surveys approaches and considerations rather than introducing a new architecture.

Preprocessing

- Not an ML preprocessing paper; focuses on de-ID transformations, governance, and correctness requirements.

Evaluation

- Not a benchmark report; instead emphasizes process quality, documentation, configurability, and risk-based evaluation thinking.

Novelty

- Consolidates field-level best practices into a single structured document: terminology, scope, rule profiles, statistical risk framing, and operational checklists for medical image de-ID.

Results

- Qualitative “result”: provides a comprehensive reference standard for implementing and auditing de-ID pipelines in practice (especially relevant for your proposal’s “policy + technical” framing).