11) From Ultrasound Image Collection to De-identification and Re-identification: A Practical Pipeline (Laçi et al., 2025)

Datasets used

- Real-world ultrasound images collected from a private clinic. The paper focuses on building a high-quality dataset rather than reporting large-scale benchmark numbers.

Methodology / Pipeline

- Introduces UltraSafe, a full end-to-end pipeline that covers ultrasound data collection, cleaning, annotation, de-identification, and controlled re-identification. The pipeline is designed to ensure privacy while preserving dataset usability for AI research.

Models used

- Primarily rule-based and semi-automated components. No deep learning model is proposed as the core PHI detector.

Preprocessing

- Includes dataset cleaning, quality control, annotation consistency checks, and removal of burned-in text and identifiers during de-identification.

Evaluation

- Evaluation is qualitative and process-oriented, focusing on privacy assurance, dataset usability, and correctness of de-identification rather than numerical ML metrics.

Novelty

- One of the first papers to document the complete lifecycle of building a real-world ultrasound dataset, emphasizing that de-identification alone is insufficient without data quality and governance.

Results

- Demonstrates that a standardized, end-to-end pipeline improves both privacy protection and research usability of ultrasound datasets.

12) Evaluating the Impact of Different Deface Algorithms on Deep Learning Segmentation Software Performance (Ammar et al., 2025)

Datasets used

- 50 head-and-neck CT scans from radiation oncology patients.

Methodology / Pipeline

- Applies two defacing algorithms to CT scans and evaluates their impact on downstream AI segmentation models used in clinical workflows.

Models used

- No new model proposed. Commercial AI segmentation tools are used to measure downstream performance after defacing.

Preprocessing

- Defacing applied to remove facial identity regions before segmentation.

Evaluation

- Uses Dice similarity coefficient, Hausdorff distance, surface Dice, and radiation dose differences to quantify downstream impact.

Novelty

- Provides empirical evidence that privacy-preserving defacing can significantly degrade AI segmentation accuracy, especially for facial and near-face structures.

Results

- Defacing significantly reduced segmentation accuracy for on-face structures, while off-face organs were mostly unaffected. Confirms that over-aggressive pixel removal harms downstream AI tasks.

13) A Two-Stage De-Identification Process for Privacy-Preserving Medical Image Analysis (Shahid et al., 2022)

Datasets used

- CT scan images in DICOM format from hospital PACS systems.

Methodology / Setup

- Two-stage de-identification approach. First stage removes obvious identifiers during PACS export. Second stage performs exhaustive DICOM attribute-level inspection using a custom tool.

Models used (by participants)

- Entirely rule-based. No machine learning models are used.

Preprocessing

- Structured DICOM attribute filtering and replacement based on compliance rules.

Evaluation

- Evaluated using compliance with privacy regulations and completeness of identifier removal.

Novelty

- Clearly separates institutional responsibility from post-export validation and emphasizes privacy-by-design in medical image workflows.

Results

- Demonstrates that layered rule-based de-identification improves reliability but does not address pixel-level burned-in PHI.

14) Deep Learning-Based Radiographic Marker Removal for De-Identified Data Sharing (RSNA AI Brief)

Datasets used

- 2000 pelvic and hip radiographs for training and internal testing, plus an external chest radiograph dataset.

Methodology / Pipeline

- Uses object detection to localize radiographic markers, followed by selective removal while optionally retaining non-identifying markers such as laterality.

Models used

- YOLOv5 object detection model.

Preprocessing

- Images resized and normalized; bounding boxes annotated for marker localization.

Evaluation

- Measured de-identification accuracy, false positives, and retention accuracy for desired markers.

Novelty

- Demonstrates selective marker removal rather than indiscriminate masking, showing that not all text-like regions should be removed.

Results

- Achieved near-perfect de-identification accuracy internally and strong generalization to external datasets after minimal fine-tuning.

15) Preserving Privacy in Medical Images While Still Enabling AI-Driven Research: A Comprehensive Review (Laçi and Sevrani, 2024)

Datasets used

- Not applicable. This is a survey and review paper.

Methodology / Resource contribution

- Reviews existing techniques for medical image de-identification and anonymization, focusing on unstructured image data rather than tabular or metadata-only approaches.

Models used

- Not applicable.

Preprocessing / Data construction

- Not applicable.

Evaluation

- Synthesizes findings across prior studies, focusing on privacy-utility tradeoffs and regulatory constraints.

Novelty

- Highlights that perfect anonymization is impossible without losing research utility and argues for risk-aware, context-dependent solutions.

Results

- Concludes that no universal de-identification solution exists and that adaptive, use-case-aware methods are required.

16) Summary of the NCI 2023 Workshop on Medical Image De-identification Part 1 (Clunie et al., 2024)

Datasets used

- References multiple datasets used across TCIA, XNAT, and international projects; not a single experimental dataset

Methodology / Pipeline

- Summarizes best practices, conventional de-identification tools, and international regulatory perspectives presented at the NCI workshop.

Models used

- Primarily rule-based and operational systems discussed; no new ML model proposed.

Preprocessing

- Focuses on metadata handling, DICOM compliance, and workflow integration.

Evaluation

- Not a benchmark study. Emphasizes process quality, reproducibility, and governance.

Novelty

- Provides a consensus snapshot of the state of the field and highlights unresolved challenges in medical image de-identification.

Results

- Reinforces that existing tools are conservative and often over-redact to ensure compliance.

17) Summary of the NCI 2023 Workshop on Medical Image De-identification Part 2 (Clunie et al., 2024)

Datasets used

- Includes pathology whole slide images, radiology images, and synthetic MIDI datasets.

Methodology / Pipeline

- Covers pathology de-identification, defacing methods, AI-based pixel de-identification, and the MIDI dataset and pipeline.

Models used

- Discusses multiple AI-based and rule-based systems; no single proposed model.

Preprocessing

- Varies by modality, including label removal, pixel masking, and text handling.

Evaluation

- Discusses qualitative outcomes and benchmarking efforts rather than numerical ML results.

Novelty

- Explicitly acknowledges the growing role of AI for pixel-level PHI handling and the limitations of fully automated systems.

Results

- Concludes that AI-assisted pipelines are necessary but still require validation and oversight.

18) Exploring AI-Based System Design for Pixel-Level PHI Detection in Medical Images (Truong et al., 2025)

Datasets used

- Two datasets covering multiple imaging modalities and PHI categories.

Methodology / Pipeline

- Three-module pipeline consisting of text detection, text extraction, and text analysis for PHI classification.

Models used

- YOLOv11 for text detection, EasyOCR for text extraction, and GPT-4o for semantic PHI classification.

Preprocessing

- Cropping of detected text regions and normalization before OCR and language analysis.

Evaluation

- Evaluated detection accuracy, OCR quality, and PHI classification performance, with attention to latency and cost tradeoffs.

Novelty

- Systematically compares modular AI configurations and demonstrates where LLMs add value in pixel-level PHI detection.

Results

- Finds that modular pipelines outperform monolithic solutions, but PHI detection gains depend on imprint complexity.

19) Software for De-identification: Protecting Human Subject Identifiers (Johns Hopkins University Guide)

Datasets used

Not applicable.

Methodology

- Provides a curated overview of available de-identification software tools across images, text, and structured data.

Models used

- Not applicable.

Preprocessing

- Not applicable.

Evaluation

- No quantitative evaluation; emphasizes user responsibility and institutional review.

Novelty

- Frames de-identification as a socio-technical process involving tools, policy, and human expertise.

Results

- Concludes that no tool alone guarantees full de-identification without careful configuration and review.

20) Semantic Versus Identity: A Divide-and-Conquer Approach Towards Adjustable Medical Image De-identification (Tian et al., ICCV 2025)

Datasets used

- Seven medical imaging datasets covering X-ray and fundus modalities, evaluated across multiple downstream tasks.

Methodology

- Two-stage framework consisting of identity blocking followed by semantic compensation using medical foundation models and generative reconstruction.

Models used

- Medical foundation models for feature extraction and diffusion models for image re-synthesis.

Preprocessing

- Identity-related regions are masked at varying levels to control privacy strength.

Evaluation

- Evaluated on re-identification resistance and downstream task performance such as classification and segmentation.

Novelty

- Introduces adjustable privacy levels by explicitly separating identity removal from semantic preservation.

Results

- Achieves strong privacy protection while preserving diagnostic performance, but focuses on biometric identity rather than regulatory PHI compliance.